Amendment to 2014 Annual Water Quality report for the City of York

This is an amendment to the “2014 Annual Water Quality Report” for the City York that was published on March 21, 2015.  Under the “Violations Table” in the published report the following information should have appeared. The City of York has taken the following actions to return to compliance with the Nebraska Safe Drinking Water Act:  In reference to the Total Coliform violations on August 11, 2014 and September 12, 2014 the City of York took the initial repeat samples as required, chlorinated and flushed the well field transmission main. The initial repeat samples along with October’s samples came back negative, thus bringing the City of York water system back into compliance.

The “2014 Annual Water Quality Report” will not be published in its entirety again, but a copy may be obtained upon request in the Clerk’s Office at 100 E. 4th Street during regular business hours. The amended “2014 Annual Water Quality Report” for the City York is also being posted at the three designated public places for your review, City Offices at 100 E. 4th St, Kilgore Memorial Library at 520 Nebraska Avenue, and York Community Center at 211 E. 7th St.

For more information regarding this report, contact: Kenneth Ekeler at 402-363-2600